## Sheet1
Lisa 1
BILL No. 8: Utilities
KULUTUSED Nr. 8:Tehnovõrgud |  |  |  | All amounts in EEK /
Kõik summad EEK
Item No./ | Description / | Unit of | Quantity/ | Unit | Amount /
Spets.nr. | Tööde kirjeldus | measure/ | Maht | prices/ | Summa
|  | Mõõtühik |  | Üh.hind
1 | 2 | 3 | 4 | 5 | 6
8120 | Reconstructsion of 0,4kV overhead line/ 0,4kV õhuliini rekonstruktsioon | km | 0.06
8124 | Relocation of 0,4kV overhead line pole/ 0,4kV õhuliini masti ümber tõstmine | pcs/tk | 1
8234 | Protection of existing cables /Olevate kaablite kaitsmine | m | 15
8310 | Dismounting of existing lighting line/ Valgustusliini demontaaž | pcs/tk | 1
8311 | Dismounting of existing lighting line pole/ Valgustusmasti demontaaž | pcs/tk | 3
8320 | Spans with insulated overhead line cable/ Visanguid rippkeerdkaabliga | m | 95
8321 | Replacing bare-wire span with overhead line cable/ Paljasjuhtme visangu asendamine õhukaabliga | m | 30
8330 | Cable trenches with laying underground road lighting cable and restoration/ Kaablikaeviku kaevamine kaabli paigaldamise ja taastamisega | m | 258
8332 | Cable trenches with laying underground road lighting cable in tube and restoration/ Kaablikaeviku kaevamine kaabli paigaldamisega torusse koos taastamisega | m | 114
8336 | 0,4kV cable ending sleeves for PVC-cable/ 0,4kV elektrikaabli otsamuhv PVC-kaablile | pcs/tk | 20
8340 | Mounting of road lighting switch board/ Valgustuse lülituskilbi montaaž | pcs/tk | 1
8342 | Auxiliary earthing R≤30Ω/ Maanduri rajamine, R≤30Ω | pcs/tk | 7
8350 | Mounting of metal lighting pole (h=8m) with stand and luminary/ Valgustuse metallmasti (h=8m), jalandi ja valgusti montaaž | pcs/tk | 8
8380 | Checking procedures/ Kontrollitoimingud | obj | 2
8381 | Setting out and as-built survey/ Mahamärkimine ja teostusmõõdistus | m | 432
| TOTAL |  |  |  | 0
SUMMA